## Editable
Appendix B: This form can be used to edit the qPCR reaction with changes that include: primer and probe concentration, template DNA volume, and adjustments to the standard curve. H29-35 are standard curve values determined by the standard you designed in Appendix A. I29-35 will automatically adjust based on the template volume entered in D40. If adjustments are made to primer/probe stock or final concentrations, the volumes needed per reaction will automatically adjust. Enter the total number of reactions you will be running into cell E28 to get the volumes needed to create a master mix. An example sheet can be found on the next tab.
Project Goal:
Date
STANDARD LAYOUT FOR EACH GENE/PRIMER
WELL | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| Standards |  |  | Samples 1-8 |  |  | Samples 9-16 |  |  | Samples 17-24
A | STD1 | STD1 | STD1
B | STD2 | STD2 | STD2
C | STD3 | STD3 | STD3
D | STD4 | STD4 | STD4
E | STD5 | STD5 | STD5
F | STD6 | STD6 | STD6
G | STD7 | STD7 | STD7
H | NTC | NTC | NTC
WELL | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  |  |  | Samples 25-32 |  |  | Samples 33-40 |  |  | Samples 41-48
A | STD1 | STD1 | STD1
B | STD2 | STD2 | STD2
C | STD3 | STD3 | STD3
D | STD4 | STD4 | STD4
E | STD5 | STD5 | STD5
F | STD6 | STD6 | STD6
G | STD7 | STD7 | STD7
H | NTC | NTC | NTC
|  |  | Volume of | Number of
|  |  | reaction (ul) | Reactions + extra |  |  | Standard Concentrations
Reagent | Stock concentration | Final concentration | 20 | 204 |  | Standard ID | copies/ul | copies in reaction | copies in reaction no notation
2X IDT qPCR Mix | 2 | 1 | 10 | 2040 |  | STD1 | 10000000 | 30000000 | 30000000
IGF1: F primer | 10 | 0.3 | 0.6 | 122.4 |  | STD2 | 1000000 | 3000000 | 3000000
IGF1: R primer | 10 | 0.3 | 0.6 | 122.4 |  | STD3 | 100000 | 300000 | 300000
IGF1: Probe | 10 | 0.2 | 0.4 | 81.6 |  | STD4 | 10000 | 30000 | 30000
IGF2: F primer | 10 | 0.3 | 0.6 | 122.4 |  | STD5 | 1000 | 3000 | 3000
IGF2: R primer | 10 | 0.3 | 0.6 | 122.4 |  | STD6 | 100 | 300 | 300
IGF2: Probe | 10 | 0.2 | 0.4 | 81.6 |  | STD7 | 10 | 30 | 30
EEF: F primer | 10 | 0.3 | 0.6 | 122.4
EEF: R primer | 10 | 0.3 | 0.6 | 122.4
EEF: Probe | 10 | 0.2 | 0.4 | 81.6
DNA
Template cDNA | 50 Dilution |  | 3
Water |  |  | 2.2 | 448.8
NOTE: Primer vol are sufficient for a 300nM rxn conc. |  |  |  | 17 | Aliquot Master Mix

## Example
Project Goal: | qPCR Calculations and Plate Design from Beatty and Schwartz (2019).
STANDARD LAYOUT FOR EACH GENE/PRIMER
WELL | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| Standards |  |  | Samples 1-8 |  |  | Samples 9-16 |  |  | Samples 17-24
A | STD1 | STD1 | STD1 | EDBP23 | EDBP23 | EDBP23 | St2_2 | St2_2 | St2_2 | 01L | 01L | 01L
B | STD2 | STD2 | STD2 | 33L | 33L | 33L | 286 | 286 | 286 | Adult L3 | Adult L3 | Adult L3
C | STD3 | STD3 | STD3 | ST_4 2 | ST_4 2 | ST_4 2 | 38L | 38L | 38L | 67L | 67L | 67L
D | STD4 | STD4 | STD4 | 289 | 289 | 289 | EDBP26 | EDBP26 | EDBP26 | 03L | 03L | 03L
E | STD5 | STD5 | STD5 | Adult L4 | Adult L4 | Adult L4 | EDBP15 | EDBP15 | EDBP15 | Adult L7 | Adult L7 | Adult L7
F | STD6 | STD6 | STD6 | 35L | 35L | 35L | Adult L2 | Adult L2 | Adult L2 | 56L | 56L | 56L
G | STD7 | STD7 | STD7 | EDBP14 | EDBP14 | EDBP14 | 290 | 290 | 290 | 08L | 08L | 08L
H | NTC | NTC | NTC | 37L | 37L | 37L | 65L | 65L | 65L | EDBP29 | EDBP29 | EDBP29
WELL | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  |  |  | Samples 25-32 |  |  | Samples 33-40 |  |  | Samples 41-48
A | STD1 | STD1 | STD1 | EDBP39 | EDBP39 | EDBP39 | Adult L5 | Adult L5 | Adult L5 | 02L | 02L | 02L
B | STD2 | STD2 | STD2 | 54L | 54L | 54L | 60L | 60L | 60L | St_2 1 | St_2 1 | St_2 1
C | STD3 | STD3 | STD3 | 50L | 50L | 50L | EDBP24 | EDBP24 | EDBP24 | 27L | 27L | 27L
D | STD4 | STD4 | STD4 | St_4 1 | St_4 1 | St_4 1 | 04L | 04L | 04L | Adult L1 | Adult L1 | Adult L1
E | STD5 | STD5 | STD5 | 293 | 293 | 293 | Adult L8 | Adult L8 | Adult L8
F | STD6 | STD6 | STD6 | EDBP43 | EDBP43 | EDBP43 | 24L | 24L | 24L
G | STD7 | STD7 | STD7 | 11L | 11L | 11L | 52L | 52L | 52L
H | NTC | NTC | NTC | 42L | 42L | 42L | Adult L6 | Adult L6 | Adult L6
|  |  | Volume of | Number of
|  |  | reaction (ul) | Reactions + extra |  |  | Standard Concentrations
Reagent | Stock concentration | Final concentration | 20 | 192 |  | Standard ID | copies/ul | copies in reaction | copies in reaction no notation
2X IDT qPCR Mix | 2 | 1 | 10 | 1920 |  | STD1 | 10000000 | 30000000 | 30000000
IGF1: F primer | 10 | 0.3 | 0.6 | 115.2 |  | STD2 | 1000000 | 3000000 | 3000000
IGF1: R primer | 10 | 0.3 | 0.6 | 115.2 |  | STD3 | 100000 | 300000 | 300000
IGF1: Probe | 10 | 0.2 | 0.4 | 76.8 |  | STD4 | 10000 | 30000 | 30000
IGF2: F primer | 10 | 0.3 | 0.6 | 115.2 |  | STD5 | 1000 | 3000 | 3000
IGF2: R primer | 10 | 0.3 | 0.6 | 115.2 |  | STD6 | 100 | 300 | 300
IGF2: Probe | 10 | 0.2 | 0.4 | 76.8 |  | STD7 | 10 | 30 | 30
EEF: F primer | 10 | 0.3 | 0.6 | 115.2
EEF: R primer | 10 | 0.3 | 0.6 | 115.2
EEF: Probe | 10 | 0.2 | 0.4 | 76.8
DNA
Template cDNA | 50 Dilution |  | 3
Water |  |  | 2.2 | 422.4
NOTE: Primer vol are sufficient for a 300nM rxn conc. |  |  |  | 17 | Aliquot Master Mix